|  |  |  |  | SF02 NON-CONFORMITY REPORT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date |  |  | Client Name and Site: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24/05/2024 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CMM /01 |  |  |
| Non-conformity Observed During: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Process: |  |  |  |  |  |  |  | Site tour |  |  |  |  |  |  |  |  |  |  |  |  |
| Standard / Reference Document: |  |  |  |  |  |  |  | KS 1758 Part 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Clause: |  |  |  |  |  |  |  | 9.3.3A |  |  |  |  |  |  |  |  |  |  |  |  |
| REQUIREMENT OF AUDITED STANDARD: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire extinguishers and other appropriate firefighting equipment are easily accessible and regularly maintained. Fire alarms are fitted on each floor above the exit and there is evidence of evacuation drills. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STATEMENT OF NON-CONFORMITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire extinguisher at the fertilizer store was found blocked |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| OBJECTIVE EVIDENCE FOR RAISING NON-CONFORMITY AND JUSTIFICATION OF THE GRADE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grade |  |  |  |  | Lead Auditor |  |  |  |  |  |  | Auditor raising NCR |  |  | Client Representative |  |  |  |  |  |
| Major |  |  |  |  | Cecilia Maundu |  |  |  |  |  |  | Cecilia |  |  | Christine Wanjira |  |  |  |  |  |
| To be Completed Before: |  |  |  |  | 28 days |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ROOT CAUSE ANALYSIS AND CORRECTIVE ACTION * |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ROOT CAUSE. BLOCKED DUE TO THE FERTILIZER BEING STORED THERE. CORRECTION/CORRECTIVE ACTIONS: - REMOVED THE FERTILIZERS THAT WAS BLOCKING THE FIRE EXTINGUISHER( See attached picture) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Implementation of CA |  |  |  |  |  |  | Date of Completion* |  |  |  |  |  | 29.05.2024 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Client Representative* |  |  |  |  |  | CHRISTINE WANJIRA |  |  |  |  |  |  |  |
| CLEARANCE REPORT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Validation of Corrective Action plan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Corrective Action Accepted |  |  |  |  |  | - Yes |  |  | - No |  | Non-conformity Downgraded |  |  |  |  | - Yes |  |  | - No |  |
| Auditor: | Cecilia Maundu |  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |
| Verification of implementation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Auditor: |  | Cecilia Maundu |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |

|  |  |  |  | SF02 NON-CONFORMITY REPORT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date |  |  | Client Name and Site: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24/05/2024 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CMM /02 |  |  |
| Non-conformity Observed During: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Process: |  |  |  |  |  |  |  | Site tour |  |  |  |  |  |  |  |  |  |  |  |  |
| Standard / Reference Document: |  |  |  |  |  |  |  | KS 1758 Part 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Clause: |  |  |  |  |  |  |  | 9.1.3A |  |  |  |  |  |  |  |  |  |  |  |  |
| REQUIREMENT OF AUDITED STANDARD: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The work stations are provided with sufficiently stocked first aid kits and have personnel trained in first aid to deal with emergencies |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STATEMENT OF NON-CONFORMITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The compliance to this requirement was not demonstratable as first aid kit was found locked and keys misplaced |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| OBJECTIVE EVIDENCE FOR RAISING NON-CONFORMITY AND JUSTIFICATION OF THE GRADE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grade |  |  |  |  | Lead Auditor |  |  |  |  |  |  | Auditor raising NCR |  |  | Client Representative |  |  |  |  |  |
| Major |  |  |  |  | Cecilia Maundu |  |  |  |  |  |  | Cecilia |  |  | Christine Wanjira |  |  |  |  |  |
| To be Completed Before: |  |  |  |  | 28 days |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ROOT CAUSE ANALYSIS AND CORRECTIVE ACTION * |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ROOT CAUSE: MIXING OF THE FIRST AID KEYS. CORRECTION/CORRECTIVE ACTIONS: WE HAVE LABELLED THE KEYS AND MOUNT THEM ON THE WALL FOR EASIER TRACEABILITY. ( see attached picture) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Implementation of CA |  |  |  |  |  |  | Date of Completion* |  |  |  |  |  | 29/05/2024 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Client Representative* |  |  |  |  |  | CHRISTINE WANJIRA |  |  |  |  |  |  |  |
| CLEARANCE REPORT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Validation of Corrective Action plan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Corrective Action Accepted |  |  |  |  |  | - Yes |  |  | - No |  | Non-conformity Downgraded |  |  |  |  | - Yes |  |  | - No |  |
| Auditor: | Cecilia Maundu |  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |
| Verification of implementation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Auditor: |  | Cecilia Maundu |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |