**FARMWORKS FARMING SERVICES KENYA LTD.**

Sanlam Tower 🞄 Westlands Road 🞄 Westlands 🞄 P.O Box 16 - 00621 Nairobi, Kenya

Phone +254 722 203 396/ +254 748 576 999 🞄 Email: [admin@farmworks.africa](mailto:admin@farmworks.africa)

[www.farmworks.africa](http://www.farmworks.africa)

**WEIGHING SCALES CALIBRATION RECORD**

**FARM/CBO:** KIBINGOTI FARMERS CBO

**DATE** 29/12/2022

**NOTE:**

ALL MEASURING SCALES MUST BE CALIBRATED EVERY 3 MONTHS

**GRANULAR & POWDER CHEMICAL WEIGHING SCALE: SERIAL NO**……SF 400

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Standard Weight** | **1st Reading** | **2nd Reading** | **3rd Reading** | **Difference** | **Action taken/Comments** |
| 10gms | 10gms | 10gms | 10gms | 0gms | None |
| 100gms | 100gms | 100gms | 100gms | 0gms | None |
| 200gms | 200gms | 200gms | 200gms | 0gms | None |
| 500gms | 500gms | 500gms | 500gms | 0gms | None |
| 1000gms | 1000gms | 1000gms | 1000gms | 0gms | None |

**Comments:** The Scale is in a good working condition…

**GRANULAR & POWDER FERTILIZER WEIGHING SCALE: SERIAL NO:** SF253

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Standard Weight** | **1st Reading** | **2nd Reading** | **3rd Reading** | **Difference** | **Action taken/Comments** |
| 10Kgs | 10kgs | 10kgs | 10kgs | 0kgs | None |
| 20Kgs | 20kgs | 20kgs | 20kgs | 0kgs | None |
| 50Kgs | 50kgs | 50kgs | 50kgs | 0kgs | None |

**Comments:** The Scale is in a good working condition…

**PRODUCE WEIGHING SCALE SERIAL NO:** J 0210

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Standard Weight** | **1st Reading** | **2nd Reading** | **3rd Reading** | **Difference** | **Action taken/Comments** |
| 5Kgs | 5kgs | 5kgs | 5kgs | 0kgs | None |
| 10Kgs | 10kgs | 10kgs | 10kgs | 0kgs | None |
| 15Kgs | 15kgs | 15kgs | 15kgs | 0kgs | None |
| 20Kgs | 20kgs | 20kgs | 20kgs | 0kgs | None |
| 30Kgs | 30kgs | 30kgs | 30kg | 0kgs | None |

**Comments:** The Scale is in a good working condition…

**Calibrated By:** Dennis Wanjohi

**Approved By:** Madadi Samuel

**Date:** 29/12/2022